## Slide 1
1
BRCA1/2 Test
QIAGEN (Suzhou)
Translational Medicine Co., Ltd
Bringing Biomarkers & Companion Diagnostics
to Precision Medicine

## Slide 2: BRCA1 and BRCA2 and Mutations
BRCA1 PCR RESULT
Annealing：55°C
Annealing：58°C
Annealing：60°C

## Slide 3: BRCA1 and BRCA2 and Mutations
BRCA2 PCR RESULT
Annealing：55°C
Annealing：58°C
Annealing：60°C

## Slide 4: BRCA1 and BRCA2 and Mutations
BRCA PCR RESULT
Annealing：60°C
BRCA1
BRCA2
BRCA1
BRCA2
Annealing：60°C

## Slide 5: Summary and Further plan
The pilot study of PCR of BRCA1 and BRCA2 genes have been done with three annealing temperature, 55°C， 58°C and 60°C，respectively.
The difference between the annealing temperature 58°C and 60°C shows not very obvious. But compared with 55°C, both of the two temperature is better.
Suggest designing the primes again for those exons(labelled with yellow) with not good results.
Remaining six primer pairs(BRCA1, 2 pairs BRCA2, 4 pairs) need to design again.
Remaining 2 primer pairs(each of BRCA1 and BRCA2) need to design again.(update)